TECHNICAL REVIEW REPORT

Prepared by: ADEWOPO OLUWAGBOHUNMI AYOADE
Purpose: Review key technical sections of the PCCN EPC contract and provide recommendations.

1. Testing and Commissioning (Article 11, Section 11.3)

Observation

The contract allows the contractor to carry out performance testing of the plant before handover.

Issue Identified

Testing may be conducted under controlled or ideal conditions, which may not reflect the actual operating conditions of the plant.

Recommendation

I recommend that:

- A third party professional should be present during testing

- Testing should reflect real operating conditions as closely as possible

Benefit

- Confirms the plant will perform properly in real life operation

2. Project Scheduling (Article 5, Section 5.3)

Observation

The contractor is required to prepare and follow a project schedule.

Issue Identified

The contract does not strongly specify the use of advanced project planning tools, and tracking may not be efficient.

Recommendation

I recommend that:

- The schedule should be prepared using tools such as:

  - Primavera

  - Microsoft Project

- The schedule should be:

  - Easy to track

  - Regularly updated

- Project milestones should be linked to payments, which progress should be physically verified by the Owner’s Representative

Benefit

- Improves project monitoring

- Reduces risk of delays

3. Warranty and Reliability (Article 12 & Definitions)

Observation

- The Defect Correction Period is 24 months (2 years)

- The plant design life is 20 years

Issue Identified

The warranty period is relatively short compared to the plant life, especially for critical equipment.

Recommendation

I recommend that:

- Critical equipment such as:

  - Compressors

  - Turbines

  - Cryogenic heat exchangers

- Should have an extended warranty of 3–5 years

Benefit

- Improves long-term reliability

- Reduces maintenance risk after handover

4. Long-Term Service Agreement (LTSA)

Observation

Since the contractor is also the OEM (Original Equipment Manufacturer),

Recommendation

I recommend that a partial Long-Term Service Agreement (LTSA) should be included in the contract.

The LTSA should cover:

- Maintenance of critical equipment

- Annual inspections

- OEM technical support

- Knowledge transfer should be provided to the Owner’s staff and maintenance engineers

Benefit

- Ensures proper maintenance of specialized equipment

- Builds internal capacity of the Owner’s team

- Reduces long-term operational risk

CONCLUSION

After carefully reviewing the EPC contract for PEIYANG CHEMICAL EQUIPMENT CO. LTD, I recommend:

- Independent verification during testing

- Improved project scheduling and monitoring

- Extended warranty for critical equipment

- Inclusion of a partial LTSA for long-term reliability